## Slide 1: Fiber Harps in BMAD
D. Rubin
January 31, 2017

## Slide 2
fiber monitor hits in bmad
Input
‘call, file = fiber_monitor_lattice.’
to bmad lattice file.
The file ‘fiber_monitor_lattice.’ is found here ‘../g-2/files/fiber_monitor_lattice.’
Fiber hits are recorded along with hit times, and muon is scattered using appropriate thickness of fiber (thickness = 2[r^2-(x-x(i))^2]^{1/2})
Output
Fiber Harp output to ‘fiber_hits.dat’ with the following columns of data
Harp(1:4), fiber(1:7), time[s], s[m], vec(6)[m,rad], thickness[m]
harp fiber t s x px y py z pz thickness
1 3 9.12073628E-08 2.23430070E+01 -1.29413370E-02 6.24267934E-04 -3.95465410E-02 -3.74276107E-04 -6.84221014E-01 1.13307703E-04 4.86039610E-04
1 7 6.37891811E-08 2.23430070E+01 3.89461504E-02 9.82135756E-04 -1.84028780E-02 5.91489259E-05 7.53077653E+00 2.39835196E-03 4.88262809E-04
1 7 5.76628449E-08 2.23430070E+01 3.90999084E-02 1.45722502E-03 -9.90907315E-03 1.15848483E-03 9.36634339E+00 2.58775169E-03 4.58338234E-04
2 3 7.04141402E-08 2.23530070E+01 4.67719051E-02 1.66417300E-03 -1.28059011E-02 4.67074299E-04 5.55581474E+00 2.34766912E-03 3.15122342E-04
3 4 1.50216987E-07 3.35145104E+01 2.26267143E-04 1.41929625E-04 1.60577738E-02 -5.75688931E-04 -7.19305685E+00 3.55967846E-04 2.12632886E-04
2 3 1.10567144E-07 2.23530070E+01 -1.02780885E-02 2.73310755E-03 -1.27803503E-02 -4.42914661E-04 -6.47474675E+00 -1.35183517E-03 2.38779252E-04
1 7 1.21572566E-07 2.23430070E+01 3.87940377E-02 1.50366201E-04 -2.74985644E-03 2.60319792E-03 -9.78223189E+00 4.79698985E-03 2.83402231E-04
2 4 1.15369252E-07 2.23530070E+01 -9.38470276E-03 9.97084452E-05 -6.73074624E-05 -1.73158141E-03 -7.91354767E+00 -7.05625219E-04 4.81538000E-04
1 7 3.22910023E-08 2.23430070E+01 3.88017306E-02 2.93717085E-03 -8.96438287E-03 -1.45582847E-04 1.69682668E+01 4.83338612E-03 3.04558300E-04
4 4 2.88071820E-07 3.35245104E+01 2.35022111E-02 3.31722047E-05 -7.23305625E-05 7.33165995E-05 -3.80787221E+00 5.66760041E-04 4.78615903E-04

## Slide 3
The data in fiber_hits.dat is post-processed with program
analyze_fibers_harp.f90
Reads fiber_hits.dat
Bin hits in time bins (user choice)
Compute
  weighted average of fiber hits in each harp => <x> vs time bin
  (<x^2> - <x>^2) vs time
  Total hits/harp/time
  FFT of <x>, rms, and total
Output ‘FiberHarp.dat’
#! Data from files
tbin_max = 16452 log(two) = 0.69314718055994529 n= 14 m = 16384 size(data_cos(harpNum,:) = 16384
# Time bin = 1.0000E-08
# fiber_radius = 2.5000E-04
# Start turns = 0End turns = 0
# Harp Time bin Average position RMS position Total Hits FFT cmplx tot hits FFT cmplx average FFT complex rms
1 1 0.0000E+00 0.0000E+00 0 9.0750E+03 0.0000E+00 4.9743E+00 0.0000E+00 2.4578E-01 0.0000E+00
1 2 0.0000E+00 0.0000E+00 0 1.1723E+03 2.8615E+03 -6.4655E-01 2.4852E-01 7.2044E-02 1.0769E-01
1 3 0.0000E+00 0.0000E+00 0 3.5527E+02 1.6599E+03 -8.3363E-01 -1.0201E-01 2.5772E-02 6.6567E-02
1 4 -2.2750E-02 2.8519E-04 4 1.7692E+02 1.1133E+03 -8.5633E-01 -8.3325E-01 2.0722E-02 4.6213E-02
1 5 -6.5000E-03 4.2250E-05 2 1.5720E+02 9.1434E+02 -3.2329E-01 -1.0303E+00 1.5343E-02 4.4754E-02
1 6 3.9000E-02 0.0000E+00 2 1.4709E+02 5.9151E+02 3.9842E-01 -5.3327E-01 6.8070E-03 3.0438E-02
1 7 -3.2500E-02 4.2250E-05 2 1.4480E+02 5.6845E+02 2.3469E-02 -1.0703E-01 1.3467E-02 2.6131E-02
1 8 -5.2000E-03 3.4476E-04 10 1.0251E+02 5.4748E+02 -5.7468E-01 4.0551E-01 1.9297E-03 2.4246E-02
1 9 -9.7500E-03 1.0457E-03 4 6.0131E+01 4.5419E+02 -3.3058E-01 -5.4013E-01 2.3345E-03 1.7750E-02
1 10 -2.6000E-03 4.3264E-04 5 1.0015E+02 4.0562E+02 -1.7591E-01 -1.0701E+00 1.1486E-02 5.7108E-03
1 11 -3.9000E-02 0.0000E+00 2 1.0857E+02 3.3365E+02 -1.5163E-01 -6.5007E-01 1.7371E-02 1.4045E-02

## Slide 4
Example Simulation
“realistic” muon distribution incident at hole in backleg iron
Propagate through inflector including scattering in end coils
3 ring kickers with ‘realistic’ pulse and field shape
2D quad field maps

## Slide 5
MHz
MHz

## Slide 6
Horizontal tune